## Slide 1
SKYGUARD AI
AI/ML-Based Intelligent Anomaly Detection for Automatic Weather Stations (AWS)
PROBLEM STATEMENT: SIH26073
THEME: Disaster Management |
CATEGORY: Software ORGANIZATION: Ministry of Earth Sciences (MoES) DEPARTMENT: India Meteorological Department (IMD) TEAM NAME: BINARY MINDS

## Slide 2
MEET THE TEAM: BINARY MINDS
CHALICHEEMALA SURYA THEJAS
Team Leader
KOMMI DRUTHENDRA
ML Engineer
GADDAM SAI SANTHOSH
Full-Stack Developer
DAMA VENKATA VIGNESH
Systems & DevOps
GONDU DIVITHA
Backend Developer
DEVARLA SOWMYA RAI
Data & Research Lead
PROJECT MENTORSHIP
• Faculty Mentor: Dr. Sumathy S — Professor Higher Academic Grade, Department of Information Technology, VIT
• Guidance Domain: Provides ongoing expert advisory on dataset analysis, machine learning model architectures, and SIH optimization.

## Slide 3
THE VULNERABILITY OF WEATHER OBSERVATIONS
THE CORE CHALLENGE
• Data Reliance: Critical weather warning systems rely on real-time AWS data.
• Harsh Conditions: Harsh environments cause sensor drift and battery degradation.
• Subtle Faults: Failed sensors broadcast faulty data that passes simple threshold checks.
• Scale Barrier: Manual quality control is slow; automated real-time checking is required.
WHY SIMPLE THRESHOLDS FAIL
• Context Blindness: Static rule engines fail. Real weather events can legitimately trigger extreme readings.
• Complex Anomalies: Sensors can fail through frozen values, gradual drift, or spikes while remaining within limits.
• Unified Checks: Observations require validation across temporal, spatial, and multivariate attributes.
SPIKE
FROZEN
DRIFT
COMM FAILURE
MULTIVARIATE

## Slide 4
PROPOSED SOLUTION: SYSTEM ARCHITECTURE
SkyGuard AI establishes a secure, modular monitoring layer that intercepts observations before they reach decision systems.
1. AWS STREAM
Continuous data streaming of Temp, Pres, Humidity
2. QUALITY CHECK
Validates missing, frozen, & duplicate readings
3. AI/ML ENGINE
Isolation Forest + Autoencoder analysis
4. EXPLAIN & CLASSIFY
SHAP contribution & root-cause mapping
5. HEALTH & CORRECT
Calculates health score & estimates value

## Slide 5
SYSTEM FLOW & DATA PIPELINE
DATA FLOW PATHWAY
• Ingestion: Sensors transmit parameters (Temp, Hum, Pres) via JSON streams.
• Quality Gateway: Deterministic validation flags immediate range errors and timeouts.
• Parallel Inference: Concurrent execution of Isolation Forest (ML) and Autoencoder (DL).
• Decision Fusion: Scores are fused dynamically using a confidence weighted formula.
• Explainability: SHAP extracts features driving the anomaly; root cause is categorized.
• Broadcast: Downstream endpoints receive alerts alongside an imputed fallback value.
SENSOR HEALTH & IMPUTATION LOOP
• Health Score: Continuous 0-100 rating tracked for every physical sensor.
• Degradation: Persistent anomalies and data drops degrade the score over time.
• Proactive Alerts: Scores below 50 trigger alerts for physical maintenance.
• Data Recovery: If compromised, system estimates replacement readings dynamically.
NORMAL (100-80)
Full reliability. Data is passed directly.
DRIFT (79-50)
Warning state. Minor drift flagged.
FAIL (49-0)
Critical state. AI Imputation active.

## Slide 6
CONCEPT 1: MULTIVARIATE ANALYSIS
PHYSICS-BASED VALIDATION
• Inter-variable Links: Atmospheric parameters (temperature, pressure, relative humidity) are physically correlated and follow meteorological laws.
• Univariate Blindspot: Univariate systems only analyze one sensor at a time. They miss joint relationships where values are normal individually but impossible in combination.
• Correlation Checking: SkyGuard models the correlation matrix. If pressure drops sharply while temperature climbs during high humidity, it flags a multivariate anomaly.
• False Alarm Reduction: This physics-aligned modeling prevents extreme, genuine weather anomalies from being falsely categorized as equipment failure.
COMPARISON MATRIX
SENSOR | UNIVARIATE CHECK | SKYGUARD SYSTEM
Temp (35°C) | ✔ PASS (Limit 45°) | ✔ Validated
Hum (98%) | ✔ PASS (Limit 100%) | ✔ Validated
Combined | ✔ PASS (Individual OK) | ✘ FLAG: Joint Anomaly

## Slide 7
CONCEPT 2: ISOLATION FOREST
ISOLATING ANOMALIES
• Algorithm Design: Isolation Forest is an unsupervised algorithm that isolates anomalies instead of profiling normal data points.
• Random Partitioning: The dataset is recursively partitioned by randomly selecting a feature and a split value.
• Path Length Principle: Anomalies require far fewer partitions (shorter path lengths) to isolate because they lie away from dense clusters.
• Performance Benefit: Provides immediate, low-latency detection of sharp sensor spikes and sudden out-of-bounds readings.
ISOLATION FOREST MECHANISM
Root
A
N1
N2
N3
N4
N5
Anomaly: Short Path (1 Split)
Normal: Deep Path (4+ Splits)

## Slide 8
CONCEPT 3: AUTOENCODER RECONSTRUCTION
RECONSTRUCTION-BASED DETECTION
• Core Model: A neural network consisting of an Encoder (data compression) and a Decoder (data reconstruction).
• Training Paradigm: The model is trained entirely on historical, clean observation streams (normal weather patterns).
• Anomaly Metric: When presented with normal readings, the reconstruction error is low. If readings contain anomalies (e.g. sensor drift), the error spikes.
• Primary Use Case: Highly effective at identifying gradual sensor degradation and long-term calibration drift.
AUTOENCODER ARCHITECTURE
Temp
Pres
Hum
Latent
Temp'
Pres'
Hum'
ENCODER
DECODER
COMPARE INPUT VS RECONSTRUCTED OUTPUT = RECONSTRUCTION ERROR

## Slide 9
EXPLAINABILITY & ANOMALY DIAGNOSIS
SHAP EXPLAINABILITY
• Transparency: Evaluators favor systems that are not 'black boxes'. SkyGuard integrates SHAP local contribution values.
• Feature Attribution: SHAP quantifies the exact contribution of each sensor parameter (e.g. Temp, Humidity) toward the final anomaly classification.
• Auditable Output: Operators can view the specific physical evidence that led the machine learning model to raise an alert.
ROOT CAUSE CLASSIFIER
• Diagnosis: Auxiliary network maps feature contributions to failure categories.
• Root Causes: Classifies anomalies into spikes, frozen values, drift, or comm drops.
• Actionable: Provides maintenance teams with direct repair suggestions.
SHAP FEATURE ATTRIBUTION ANALYSIS:
Temperature Contribution: 78% (Primary Driver)
Humidity Contribution: 15%
Pressure Contribution: 7%

## Slide 10
TECHNICAL FEASIBILITY & STACK
A modern, modular, production-ready stack using established frameworks for rapid scaling.
BACKEND APIS
• Python & FastAPI framework
• High performance asynchronous streaming
• Docker containerization for Cloud Run
AI & ML ENGINES
• Scikit-learn (Isolation Forest)
• PyTorch (Neural Network Autoencoder)
• SHAP explainability engine
STORAGE & PLOTTING
• PostgreSQL (Observations database)
• Plotly library for real-time charting
• Structured audit logging for events
DEPLOYMENT & EDGE
• AWS EC2 scalable host
• Docker container images
• ESP32 microchip edge gateway compatibility

## Slide 11
OPERATIONAL OUTCOMES & IMPACT
KEY PERFORMANCE TARGETS
≥ 90%
Target F1-Score across all injected anomaly scenarios.
< 2 Sec
Target end-to-end alert latency per new AWS stream observation.
100%
Alert transparency with confidence score & evidence.
STRATEGIC IMPACT
• Trustworthy Weather Feed: Guarantees reliable feed for weather forecasts, disaster prevention systems, and MoES storage.
• Data Stream Continuity: Rather than discarding anomalous signals, our self-healing layer reconstructs missing segments to prevent observations gaps.
• Predictive Maintenance: Detects drift and frozen states early, allowing technicians to resolve issues before outright hardware failure occurs.
• Operational Efficiency: Prevents costly cloud operations through lightweight local feature-extraction and asynchronous API stream processing.

## Slide 12
PROTOTYPE BUDGET & CONCLUSION
ESTIMATED PROTOTYPE BUDGET
COMPONENT | PURPOSE | COST (INR)
Cloud/Hosting | Compute & Database | 8,000
Edge Hardware | ESP32 + sensor kit | 6,000
Testing/Data | Anomaly injection tests | 7,500
Software Tools | Domain & Dashboard utilities | 2,500
Contingency | Testing adjustments | 2,000
TOTAL BUDGET | Full software prototype MVP | 26,000
SUMMARY & STRATEGIC PITCH
• SIH-Aligned: Directly aligns with MoES and IMD requirements under SIH26073.
• Novel Tech: Combines Isolation Forest and Autoencoders with transparent SHAP explanations.
• Low Compute: Asynchronous API structure handles high-volume streams at low cost.
• Ready to Deploy: Delivers a complete, trustworthy pathway for clean data feeds.
DEVELOPED BY TEAM BINARY MINDS